## Bid Form
City of Fruita
Bid Schedule
19 Road Improvement Project - Addendum 1
Project No. 130-750-77-4730
No. | Item Description | Quantity | Unit | Unit Cost | Extension
1 | Mobilization | 1 | LS |  | 0
2 | Clear and Grub | 5.5 | AC |  | 0
3 | Construction Surveying | 1 | LS |  | 0
4 | Material Testing | 1 | LS |  | 0
5 | Stormwater Management | 1 | LS |  | 0
6 | Traffic Control | 1 | LS |  | 0
7 | Flashing Stop Sign | 4 | EA |  | 0
8 | Variable Message Board | 6 | Days |  | 0
9 | Reset mail box | 17 | EA |  | 0
10 | Small Tree Removal (12-Inch Dia. and less) | 1 | LS |  | 0
11 | Sign (Stop/Speed limit/Etc.) | 17 | EA |  | 0
12 | Remove Fence | 4100 | LF |  | 0
13 | Concrete Curb Gutter & Sidewalk Removal | 20 | LF |  | 0
14 | Concrete Ditch Removal | 700 | LF |  | 0
15 | Remove/Plug existing ditch culvert | 100 | LF |  | 0
16 | Remove/reset Irrigation Pump | 2 | EA |  | 0
17 | Embankment/Fill | 13000 | CY |  | 0
18 | Excavation | 1 | LS |  | 0
19 | Class 6 Aggregate Base Course | 17000 | TON |  | 0
20 | Asphalt Milling/Disposal | 14000 | SY |  | 0
21 | Hot Mix Asphalt | 10000 | Ton |  | 0
22 | Curb Ramp Type 1 | 3 | EA |  | 0
23 | Curb Ramp Type 2 | 1 | EA |  | 0
24 | Curb Ramp Type 3 | 2 | EA |  | 0
25 | 4"-Wide Solid White Striping | 15000 | LF |  | 0
26 | 4"-Wide Solid Yellow Striping | 14000 | LF |  | 0
27 | Thermoplastic Crosswalk/Stop Bar Markings | 4785 | SF |  | 0
28 | Connect to existing manhole | 1 | EA |  | 0
29 | 4-ft Manhole | 15 | EA |  | 0
30 | 12-inch SDR-35 | 2769.7 | LF |  | 0
31 | 15-inch SDR-35 | 1820.7 | LF |  | 0
32 | 4-inch Service Line | 1 | EA |  | 0
33 | Storm Ceptor | 2 | EA |  | 0
34 | 60-inch Storm Manhole | 12 | EA |  | 0
35 | 72-inch Storm Manhole | 5 | EA |  | 0
36 | 24"x24" Catch Basin | 9 | EA |  | 0
37 | 12" CMP Driveway Culvert | 500 | LF |  | 0
38 | 15-inch HDPE | 544.5 | LF |  | 0
39 | 18-inch HDPE | 95 | LF |  | 0
40 | 24-inch HDPE | 2663.1 | LF |  | 0
41 | 30-inch HDPE | 2044.9 | LF |  | 0
42 | 48-inch RCP | 111.3 | LF |  | 0
43 | 12" PVC | 1696.4 | LF |  | 0
44 | 18" PVC | 66.4 | LF |  | 0
45 | 24" PVC | 501.8 | LF |  | 0
46 | 18" RCP | 132.6 | LF |  | 0
47 | 24" RCP | 474.2 | LF |  | 0
48 | Irrigation Box 1A | 1 | EA |  | 0
49 | Irrigation Box 2A | 1 | EA |  | 0
50 | Irrigation Box 3A | 1 | EA |  | 0
51 | Irrigation Tee 1B | 1 | LS |  | 0
52 | Irrigation Tee 2B | 1 | LS |  | 0
53 | Irrigation MH 1C | 1 | LS |  | 0
54 | Irrigation MH 2C | 1 | LS |  | 0
55 | 12" Gate Valve | 1 | EA |  | 0
56 | GVIC Removal of Structure | 1 | EA |  | 0
57 | GVIC Structural Excavation | 1175 | CY |  | 0
58 | GVIC Structural Backfill (Class 1) | 526 | CY |  | 0
59 | GVIC Aggregate Base Course (Class 3) | 250 | CY |  | 0
60 | Concrete Class D (Bridge) | 194 | CY |  | 0
61 | Structural Concrete Coating | 250 | SF |  | 0
62 | Reinforcing Steel | 28300 | LB |  | 0
63 | 8-inch PVC C-900 | 1250 | LF |  | 0
64 | 2-inch Gate Valve | 1 | EA |  | 0
65 | Air Release/Air Vacuum | 2 | EA |  | 0
66 | 3/4-inch Service Near | 3 | EA |  | 0
67 | 3/4-inch Service Far | 3 | EA |  | 0
68 | Fire Hydrant Assembly | 1 | EA |  | 0
69 | Export Unsuitable Backfill Material | 9700 | CY |  | 0
70 | Structural Backfill Material | 20000 | TON |  | 0
71 | Trench Stabilization Rock | 7200 | TON |  | 0
72 | Reconstruct Existing Driveway | 25 | EA |  | 0
73 | Seeding | 6 | AC |  | 0
74 | Force Account | 1 | LS | 500000 | 500000
| Total Base Bid Amount |  | 500000
Company Name:
By:
Signature:
Date:
Addendum 1 Acknowledgment:

## PDF
City of Fruita
Bid Schedule
19 Road Improvement Project
Project No. 130-750-77-4730
No. | Item Description | Quantity | Unit | Unit Cost | Extension
1 | Mobilization | 1 | LS
2 | Clear and Grub | 5.5 | AC
3 | Construction Surveying | 1 | LS
4 | Material Testing | 1 | LS
5 | Stormwater Management | 1 | LS
6 | Traffic Control | 1 | LS
7 | Flashing Stop Sign | 4 | EA
8 | Variable Message Board | 6 | Days
9 | Reset mail box | 17 | EA
10 | Small Tree Removal (12-Inch Dia. and less) | 1 | LS
11 | Sign (Stop/Speed limit/Etc.) | 17 | EA
12 | Remove Fence | 4100 | LF
13 | Concrete Curb Gutter & Sidewalk Removal | 20 | LF
14 | Concrete Ditch Removal | 700 | LF
15 | Remove/Plug existing ditch culvert | 100 | LF
16 | Remove/reset Irrigation Pump | 2 | EA
17 | Embankment/Fill | 13000 | CY
18 | Excavation | 1 | LS
19 | Class 6 Aggregate Base Course | 17000 | TON
20 | Asphalt Milling/Disposal | 14000 | SY
21 | Hot Mix Asphalt | 10000 | Ton
22 | Curb Ramp Type 1 | 3 | EA
23 | Curb Ramp Type 2 | 1 | EA
24 | Curb Ramp Type 3 | 2 | EA
25 | 4"-Wide Solid White Striping | 15000 | LF
26 | 4"-Wide Solid Yellow Striping | 14000 | LF
27 | Thermoplastic Crosswalk/Stop Bar Markings | 4785 | SF
28 | Connect to existing manhole | 1 | EA
29 | 4-ft Manhole | 15 | EA
30 | 12-inch SDR-35 | 2769.7 | LF
31 | 15-inch SDR-35 | 1820.7 | LF
32 | 4-inch Service Line | 1 | EA
33 | Storm Ceptor | 2 | EA
34 | 60-inch Storm Manhole | 12 | EA
35 | 72-inch Storm Manhole | 5 | EA
36 | 24"x24" Catch Basin | 9 | EA
37 | 12" CMP Driveway Culvert | 500 | LF
38 | 15-inch HDPE | 544.5 | LF
39 | 18-inch HDPE | 95 | LF
40 | 24-inch HDPE | 2663.1 | LF
41 | 30-inch HDPE | 2044.9 | LF
42 | 48-inch RCP | 111.3 | LF
43 | 12" PVC | 1696.4 | LF
44 | 18" PVC | 66.4 | LF
45 | 24" PVC | 501.8 | LF
46 | 18" RCP | 132.6 | LF
47 | 24" RCP | 474.2 | LF
48 | Irrigation Box 1A | 1 | EA
49 | Irrigation Box 2A | 1 | EA
50 | Irrigation Box 3A | 1 | EA
51 | Irrigation Tee 1B | 1 | LS
52 | Irrigation Tee 2B | 1 | LS
53 | Irrigation MH 1C | 1 | LS
54 | Irrigation MH 2C | 1 | LS
55 | 12" Gate Valve | 1 | EA
56 | GVIC Removal of Structure | 1 | EA
57 | GVIC Structural Excavation | 1175 | CY
58 | GVIC Structural Backfill (Class 1) | 526 | CY
59 | GVIC Aggregate Base Course (Class 3) | 250 | CY
60 | Concrete Class D (Bridge) | 194 | CY
61 | Structural Concrete Coating | 250 | SF
62 | Reinforcing Steel | 28300 | LB
63 | 8-inch PVC C-900 | 1250 | LF
64 | 2-inch Gate Valve | 1 | EA
65 | Air Release/Air Vacuum | 2 | EA
66 | 3/4-inch Service Near | 3 | EA
67 | 3/4-inch Service Far | 3 | EA
68 | Fire Hydrant Assembly | 1 | EA
69 | Export Unsuitable Backfill Material | 9700 | CY
70 | Structural Backfill Material | 20000 | TON
71 | Trench Stabilization Rock | 7200 | TON
72 | Reconstruct Existing Driveway | 25 | EA
73 | Seeding | 6 | AC
74 | Force Account | 1 | LS | 500000 | 500000
Total Base Bid Amount
Company Name:
By:
Signature:
Date: